## Slide 1: Base Load vs Solar + Battery
February 2024

## Slide 2: Base load compared to hybrid
B
B
B
B
T
S
S
S
Assume 8 hours of sunlight
Assume no losses in conversion
Usage
100 MW solar for 8 hours (800 MWh)
400 MW storage for 4 hour discharge (1600 MWh)
Storage
200 MW solar to charge storage 8 hours (1600 MWh)
300 MW Solar + 400 MW Batteries
100 MW Traditional Base Load generates 2400 MWh
100 MW Base Load Generation

## Slide 3
12:00
100 MW
100 MW
200 MW
01:00
02:00
03:00
04:00
05:00
06:00
07:00
08:00
10:00
11:00
12:00
09:00
04:00
05:00
06:00
07:00
08:00
09:00
10:00
11:00
12:00
01:00
02:00
03:00
12:00