## Instructions
Registered Entity Instructions
TPL-001-4: Use of Footnote 12 for Non-Consequential Load Loss
Event Driven Reporting Instructions
Process for review is contained within the ERO Enterprise document located on the NERC website.
Table 1 – Steady State & Stability Performance Footnote 12 (Planning Events and Extreme Events)
12. An objective of the planning process is to minimize the likelihood and magnitude of Non-Consequential Load Loss following planning events. In limited circumstances, Non-Consequential Load Loss may be needed throughout the planning horizon to ensure that BES performance requirements are met. However, when Non-Consequential Load Loss is utilized under footnote 12 within the Near-Term Transmission Planning Horizon to address BES performance requirements, such interruption is limited to circumstances where the Non-Consequential Load Loss meets the conditions shown in Attachment 1. In no case can the planned Non-Consequential Load Loss under footnote 12 exceed 75 MW for US registered entities. The amount of planned Non-Consequential Load Loss for a non-US Registered Entity should be implemented in a manner that is consistent with, or under the direction of, the applicable governmental authority or its agency in the non-US jurisdiction.
To facilitate uniformity in the submission process, the ERO Enterprise has created the TPL-001-4 Submittal Data form for submission to the appropriate Regional Entity. The form and any supporting evidence will be submitted in the Secure Evidence Locker. The registered entity will be required to maintain all relevant evidence for the use of Footnote 12. If a registered entity is included in the Coordinated Oversight Program, they should include the relevant MRRE identification information (e.g. MRRE Group Name and MRRE Group Number) in the General Information section. Call your CEA with any questions.
Submission Frequency:
Event driven Requirement that requires assurance from applicable regulatory authorities or governing bodies responsible for retail electric service. Once assurance has been received the registered entity should contact the CEA to start the review process.
Instructions
1. Complete the TPL-001-4 Submittal Data tab.
2. Save and submit the "Event Driven Data Submittal Form - TPL-001-4" and any supporting evidence to the appropriate Regional Entity in the Secure Evidence Locker. (Removal of instructions is not necessary).
3. Retain all relevant evidence for the use of Footnote 12.

## TPL-001-4 Submittal Data
TPL-001-4: Use of Footnote 12 for Non-Consequential Load Loss Form
Please complete the following sections per the instructions provided in the Instructions tab.
General Information
Registered Entity/MRRE Group Name |  | (Registered Entity Name/MRRE Group Name)
NCRID/MRRE Group Number |  | (Registered Entity NCRID/MRRE Group Number)
CEA/LRE |  | (Region/Lead Regional Entity)
Date of Report |  | (Date)
Entity Data Request Submittal Template
Note: A word document may be submitted in lieu of excel form as long as the information contained clearly mirrors the requests below. Supporting cases, studies, contingency files, or other documents supporting the entity’s answers are to be submitted to the Secure Evidence Locker along with this form.
Data requests from Attachment 1
• Description of the submitting entity’s rationale for why its use of Non-Consequential Load Loss does not result in any Adverse Reliability Impacts:
• Conditions under which Non-Consequential Load Loss under footnote 12 would be necessary including:
o System Load level and estimated annual hours of exposure at or above that Load level
o Applicable Contingencies and the Facilities outside their applicable rating due to that Contingency
• Amount of Non-Consequential Load Loss with:
o The estimated number and type of customers affected
o An explanation of the effect of the use of Non-Consequential Load Loss under footnote 12 on the health, safety, and welfare of the community
• Estimated frequency of Non-Consequential Load Loss under footnote 12 based on historical performance:
• Expected duration of Non-Consequential Load Loss under footnote 12 based on historical performance:
• Future plans to alleviate the need for Non-Consequential Load Loss under footnote 12:
• Verification that TPL Reliability Standards performance requirements will be met following the application of footnote 12:
• Alternatives to Non-Consequential Load Loss considered and the rationale for not selecting those alternatives under footnote 12:
• Assessment of potential overlapping uses of footnote 12 including overlaps with adjacent Transmission Planners and Planning Coordinators: