## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 9/21/2020
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-005-6 (Batteries) | R3. | Provide a list of all Components of Protection Systems specified in PRC-005-6 Applicability Section 4.2 that are part of a time-based maintenance Battery program. For each of the Components, provide: - substation/generation station - maintenance and testing interval(s) - test dates. Use Attached Templates | Return Data List to ReliabilityFirst 55 business days prior to the start of the scheduled audit. | Provide evidence that Battery Components included within its time-based program in accordance with Requirement R3 have been maintained. The evidence may include, but is not limited to, dated maintenance records, dated maintenance summaries, dated check-off lists, dated inspection records, or dated work orders. | Return evidence to ReliabilityFirst no later than 30 business days prior to the start of the scheduled audit.

## PRC-005-6 R3-Batteries
Index Number (RF use only) | Function (DP/GO TO) | Generating Station/ Substation | List of all applicable DC Supplies | Device Identifier | Defined maintenance and testing Interval(s) per PRC-005-1, R1.1. Example: If Station Batteries have Multiple Maintenance and Testing intervals, enter one Battery/Interval on each row listing the associated test dates. | Defined maintenance and testing Interval(s) per PRC-005-6, R3. Example: If Station Batteries have Multiple Maintenance and Testing intervals, enter one Battery/Interval on each row listing the associated test dates. | Applicable Table from PRC-005-2/6 | Previous Test Date | Date Last Maintained/Tested | Due Date for next Maintenance and Testing | Last maint/ tested under PRC-005-2/6 Time Based (Yes/Blank) | Comments (please provide any comments that you feel are relevant)
| GO | Gen A | Bat Gen A | B132 |  | 4 Calendar Months | 1-4(b) | 2017-12-30 | 2018-04-10 | 2018-08-10 | Yes | Example | Note:
| GO | Gen A | Bat Gen A | B132 |  | 6 Calendar Months | 1-4(b) | 2017-08-10 | 2018-02-10 | 2018-08-10 | Yes | Example | * 4/1/2019 or 4/1/2021
| GO | Gen A | Bat /Charger Gen A | B132 | 2 Year | 18 Calendar Months | 1-4(b) | 2014-12-15 | 2016-12-01 | 2018-06-01 | Yes | Example | as per Implementation Plan for
| GO | Gen A | Bat Gen A | B132 |  | 3 Calendar Years | 1-4(b) |  | 2018-03-01 | 2021-03-01 | Yes | Example | intervals consistent with Table 1-4
| TO | Substation Z | Bat B | B15-1 | 3 Month | 4 Calendar Months | 1-4(a) | 2017-12-30 | 2018-04-10 | 2018-08-10 | Yes | Example | or next due date under PRC-005-1,
| TO | Substation Z | Bat /Charger B | B15-1 | 2 Year | 18 Calendar Months | 1-4(a) | 2016-03-05 | 2018-03-01 | 2019-09-01 | Yes | Example | whichever is earlier.
| TO | Substation Z | Bat B | B15-1 | 5 Year (Load Test) | 6 Calendar Years | 1-4(a) | 2009-02-15 | 2014-03-13 | 3/13/2019* |  | Example