## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 9/21/2020
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-023-4 | R1 | Provide a list of the following circuits that have load-responsive phase protection system(s): a. Transmission lines operated at 200 kV and above b. Transformers with low voltage terminals connected at 200 kV and above (see Section A.4.2.1.1 exceptions) c. Other circuits for which the TO, GO or DP must comply with R1 - R5 as notified by the Planning Coordinator per the Implementation Plan. For each of the above, also include the Criteria used for each line/transformer. Use Attached Template | Return Data List to ReliabilityFirst 55 business days prior to the start of the scheduled audit. | Each Transmission Owner, Generator Owner, and Distribution Provider shall have evidence such as spreadsheets or summaries of calculations to show that each of its transmission relays is set according to one of the criteria in Requirement R1, criterion 1 through 13 and shall have evidence such as coordination curves or summaries of calculations that show that relays set per criterion 10 do not expose the transformer to fault levels and durations beyond those indicated in the standard. (R1) | Return evidence to ReliabilityFirst no later than 30 business days prior to the start of the scheduled audit.

## PRC-023-4 R1
Index Number (RF use only) | List the following circuits that have load- responsive phase protection system(s): a. Transmission lines operated at 200 kV and above (see Section A.4.2.1 exceptions) b. Transformers with low voltage terminals connected at 200 kV and above c. Additional circuits for which the TO, GO or DP must comply with R1 - R5 (PRC-023-3, Attachment B) | Voltage (Ex. 345 kV, 500/230 kV) | Load-responsive phase protection system (one per row) | Method used (Ex. Criteria 1 - 13) | Calculated Maximum Impedance or Amp setting at power factor angle of 30 degrees | Actual Relay Impedance or Amp Setting | MTA (Max Torque Angle of relay setting in degrees) | If Criteria 6, 7, 8, 9, 12 or 13 is used , was it approved by PC, TOP, RC (Yes or NO) | GO Question: Are any of the relays backup protection for the transmission system protection for lines 200 kV and above (Yes or No) | DP Question: Do any fo the relays see bidirectional current flow (YES or No) | Comments