## Instructions
**PUBLIC** Template for Public Posting - Remove **PUBLIC** Label and Classify as CONFIDENTIAL Before Populating With Entity Information or Distributing in Notification Package
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 09/29/2022
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-024-3 | R2. | Provide a list of generating resources, indicating whether each has applicable voltage protection (and/or applicable volts per hertz protection). Use Included Template | Return Data List to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment C - Data Sampling." | Each Generator Owner shall have evidence that applicable voltage protection has been set in accordance with Requirement R2, such as dated setting sheets, voltage-time boundaries, calibration sheets, coordination plots, dynamic simulation studies, calculations, or other documentation. Example Graph Included for Reference | Return evidence to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment B, the RSAWs, Data Sampling Evidence, and all evidence of compliance."

## PRC-024-3 R2
Index Number (RF use only) | Generating Station | Generating Unit | Applicable Voltage Protection and/or Volts per Hertz Protection (Y/N) | Comments

## Example Graph
NOTES:
Footnote 10 specifies the "No Trip Zone" is defined by the "Voltage at the high-side of the GSU or MPT." (generator step-up transformer or main power transformer). Please consider the following for applicable voltage and volts per hertz protection utilizing voltage measurements taken from a location other than the high-side of the GSU or MPT (such as overvoltage relaying applied directly at the generator voltage):
Reference Evaluating Protection Settings in PRC-024-3 Attachment 2 for instructions on how to evaluate protection settings for voltage and volts per hertz protection not directly applied to the high-side of the GSU or MPT.
The Generator Voltage Protective Relay Settings Implementation Guidance PRC-024-2 Requirement R2 document available on the NERC website may also provide helpful calculation examples.
Reference the Voltage Boundary Data Points in PRC-024-3 Attachment 2 for clarification regarding if a boundary itself is included or excluded from the "No Trip" Zone."
Reference the Boundary Details in PRC-024-3 Attachment 2 for additional clarifications regarding the "No Trip Zone" and for instructions on evaluating volts per hertz protection.
The area outside the "No Trip Zone" is not a "Must Trip Zone."
Exceptions to the "No Trip Zone" are listed in PRC-024-3 in the bulleted items under Requirement R2.
Including a graph similar to this format with the evidence, with applied trip settings and time delays plotted, is encouraged, but not required. Other forms of evidence listed in Measure 2 are acceptable.
The graph above shows only the "No Trip Zone." Typical evidence would include the "No Trip Zone" along with the trip settings for all applicable voltage protection for a specific generator.