## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 9/22/2020
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-025-2 | R1 | Provide a list of all load-responsive protective relays. Use Attached Template | Return Data List to ReliabilityFirst 55 business days prior to the start of the scheduled audit. | For each load-responsive protective relay, each Generator Owner, Transmission Owner, and Distribution Provider shall have evidence (e.g., summaries of calculations, spreadsheets, simulation reports, or setting sheets) that settings were applied in accordance with PRC-025-2 Attachment 1 Relay Settings. | Return evidence to ReliabilityFirst no later than 30 business days prior to the start of the scheduled audit.

## PRC-025-2 R1
Index Number (RF use only) | Function (DP/TO) | Generating Station/ Substation | List of all load-responsive protective relays | Device Identifier (if applicable) | Settings applied per Attachment 1 (Yes/No) | Comments (please provide any comments that you feel are relevant)
| GO | Station G | U2 | 1682 | Yes | Example
| DP | Substation D | Line 10753 | 10753 | No | Example
| TO | Substation T | Line 13825 | 12835 | Yes | Example