## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 07/19/2021
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-027-1 | R2. | Provide a list of BES Elements with Protection System functions identified in Attachment A of PRC-027-1. Use Attached Template | Return Data List to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment C - Data Sampling." | Acceptable evidence may include, but is not limited to, dated electronic or hard copy documentation to demonstrate that the responsible entity performed Protection System Coordination Study(ies) and/or Fault current comparisons in accordance with Requirement R2. | Return evidence to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment B, the RSAWs, Data Sampling Evidence, and all evidence of compliance."
DRAFT FOR INFORMATIONAL PURPOSES - At Audit Team Discretion May Use FAC-008 List or Judgmental Selection of Facilities from System 1L
NOTE - Entities have until December 31, 2027 (6 calendar years) to complete the initial performance of R2.

## PRC-027-1 R2
|  |  | Populate These Columns for BES Elements Using Option 1 During any Portion of the Audit Period |  | Populate These Columns for BES Elements Using Option 2 During any Portion of the Audit Period
Index Number (RF use only) | BES Elements with Protection System functions identified in Attachment A | R2 Compliance Method (Option 1 or Option 2) | Date of the most recent Protection System Coordination Study (if any) performed after April 1, 2021 but prior to the audit period | Dates of any Protection System Coordination Studies performed during the audit period | Date the initial Fault current baseline was established | Date of the most recent Fault current comparison (if any) performed after April 1, 2021 but prior to the audit period | Date of any Fault current comparisons performed during the audit period | Did any Fault current comparisons performed during the audit period identify a 15 percent or greater deviation in Fault current values from the Fault current Baseline? | Comments
DRAFT FOR INFORMATIONAL PURPOSES - At Audit Team Discretion May Use FAC-008 List or Judgmental Selection of Facilities from System 1L
NOTE - Entities have until December 31, 2027 (6 calendar years) to complete the initial performance of R2.