## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 9/22/2020
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
TOP-001-4 | R13 | Provide a list of dates/times when automatic RTA tools (such as EMS, SCADA, and RTCA) were not used or were not available (for the 30 days prior to the 65 business day notice). Use Attached Template | Return Data List to ReliabilityFirst 55 business days prior to the start of the scheduled audit. | Each Transmission Operator shall have, and make available upon request, evidence to show it ensured that a Real-Time Assessment was performed at least once every 30 minutes. This evidence could include but is not limited to dated computer logs showing times the assessment was conducted, dated checklists, or other evidence. | Return evidence to ReliabilityFirst no later than 30 business days prior to the start of the scheduled audit.

## TOP-001-4 R13
If the RTA process relies upon automatic processes such as EMS, SCADA and RTCA, list only the instances/intervals when there was a partial or full loss of automatic tools (for intervals in excess of 30 minutes), in the table below.
If the RTA process is manual with no automatic RTA process, list "MANUAL PROCESS" in the table below. [The auditor may request data for specific intervals through a Request for Information (RFI).]
If the RTA process was fully automatic with no loss of tools, list "FULLY AUTOMATIC PROCESS WITH NO LOSS OF TOOLS" in the table below. [The auditor may request data for specific intervals through a Request for Information (RFI).]
Index Number (RF use only) | Start Date for Loss of Automatic RTA Tools: | Start Time for Loss of Automatic RTA Tools: | End Date for Loss of Automatic RTA Tools: | End Time for Loss of Automatic RTA Tools: | Comments (please provide any comments that you feel are relevant):
| 2020-06-01 | 6:44 | 2020-06-02 | 23:19 | Loss of EMS Server
| 2020-07-04 | 19:20 | 2020-07-04 | 21:05 | System Maintenance
- OR -
MANUAL PROCESS - NO AUTOMATIC RTA PROCESS
- OR -
FULLY AUTOMATIC PROCESS WITH NO LOSS OF TOOLS