## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 11/1/2025
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-005-6 (Relays, etc) | R3. | Provide a list of all Components of Protection Systems specified in PRC-005-6 Applicability Section 4.2 that are part of a time-based maintenance program. For each of the Components, provide: - substation/generation station - maintenance and testing interval(s) - test dates. Use Included Template | Return Data List to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment C - Data Sampling." | Provide evidence that Protection System, Automatic Reclosing, and Sudden Pressure Relaying Components included within its time-based program in accordance with Requirement R3 have been maintained. The evidence may include, but is not limited to, dated maintenance records, dated maintenance summaries, dated check-off lists, dated inspection records, or dated work orders. | Return evidence to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment B, the RSAWs, Data Sampling Evidence, and all evidence of compliance."

## PRC-005-6 R3-Relays, etc.
Index Number (Add more as needed) | Function (DP/GO/ TO) | Generating Station/ Substation | Component Type (See Drop-Down box) | Microprocessor Relay (Yes / No / N/A) | Component is part of a UFLS, UVLS, RAS (SPS), Auto Recl or Sudden Pressure Relaying (Blank if no) | List of all applicable Components* | Device Identifier (if applicable) | Defined maintenance and testing Interval(s) per prior Standard/ Version ** | Defined maintenance and testing Interval(s) per PRC-005-2/6, R3 or R4. | Previous Test Date | Date Last Maintained/Tested | Due Date for next Maintenance and Testing | Last maintained / tested under | [5 empty] | PRC-005-2/6 Table *** (if applicable) | PRC-005-2/6 Table Row **** (if applicable) | Comments (please provide any comments that you feel are relevant)
[13 empty] | PRC-005-1.1b (X/Blank) | PRC-008-0 (X/Blank) | PRC-011-0 (X/Blank) | PRC-017-0 (X/Blank) | PRC-005-2/6 Time Based (X/Blank) | PRC-005-2/6 Performance Based (X/Blank)
1 | [21 empty] | *Alternative - List relays only. RF will select sample. Entity will provide requested evidence for all components associated with selected relays.
2
3
4 | [21 empty] | ** PRC-005-1.1 R1.1, PRC-008-0 R1, PRC-011-0 whichever is earlier.
5
6 | [21 empty] | *** Identify the specific table and row of PRC-005-2/6, Table 1-1, 1-2, 1-3, Table 2, or Table 3 under which the Component is being maintained.
7
8
9 | [21 empty] | **** Count the row under the Maximum Maintenance Interval column. May be left blank if not yet maintained under PRC-005-2/6.
10