## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 11/1/2025
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-005-6 (Batteries) | R3. | Provide a list of all Components of Protection Systems specified in PRC-005-6 Applicability Section 4.2 that are part of a time-based maintenance Battery program. For each of the Components, provide: - substation/generation station - maintenance and testing interval(s) - test dates. Use Included Template | Return Data List to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment C - Data Sampling." | Provide evidence that Battery Components included within its time-based program in accordance with Requirement R3 have been maintained. The evidence may include, but is not limited to, dated maintenance records, dated maintenance summaries, dated check-off lists, dated inspection records, or dated work orders. | Return evidence to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment B, the RSAWs, Data Sampling Evidence, and all evidence of compliance."

## PRC-005-6 R3-Batteries
Index Number (Add more as needed) | Function (DP/GO TO) | Generating Station/ Substation | List of all applicable DC Supplies | Device Identifier | Defined maintenance and testing Interval(s) per PRC-005-1, R1.1. Example: If Station Batteries have Multiple Maintenance and Testing intervals, enter one Battery/Interval on each row listing the associated test dates. | Defined maintenance and testing Interval(s) per PRC-005-6, R3. Example: If Station Batteries have Multiple Maintenance and Testing intervals, enter one Battery/Interval on each row listing the associated test dates. | Applicable Table from PRC-005-2/6 | Previous Test Date | Date Last Maintained/Tested | Due Date for next Maintenance and Testing | Last maint/ tested under PRC-005-2/6 Time Based (Yes/Blank) | Comments (please provide any comments that you feel are relevant)
1
2
3
4
5
6
7
8
9
10