## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 11/1/2025
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-026-2 | R2 | Part 2.1: Provide a list of BES Elements that were included in notifications from the PC (per Requirement R2 part 2.1). Part 2.2: Provide a list of BES Elements that tripped in response to a stable or unstable power swing (per Requirement R2 part 2.2) Use Included Templates | Return Data List to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment C - Data Sampling." | Each Generator Owner and Transmission Owner shall have dated evidence that demonstrates the evaluation was performed according to Requirement R2. Evidence may include, but is not limited to, the following documentation: apparent impedance characteristic plots, email, design drawings, facsimiles, R-X plots, software output, records, reports, transmittals, lists, settings sheets, or spreadsheets. | Return evidence to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment B, the RSAWs, Data Sampling Evidence, and all evidence of compliance."

## PRC-026-2 R2 Part 2.1
Index Number (Add more as needed) | BES Element Name: | Function (TO/GO): | Date of Part 2.1 Notification from PC: | Date Part 2.1 Evaluation Completed: | If Based on a Previous Evaluation Performed in the Last Five Years, List that Date: | Determination: Load Responsive Relays per Attachment A (Yes/No): | [If Column G is Yes] Evaluation - Load Responsive Relays Meet PRC-026-2 Attachment B Criteria? (Yes/No): | Comments (please provide any comments that you feel are relevant)
1
2
3
4
5
6
7
8
9
10

## PRC-026-2 Part 2.2
Index Number (Add more as needed) | Name of BES Element that Tripped (per criteria in part 2.2): | Function (TO/GO): | Actual Date of BES Element Trip: | Date of Becoming Aware of Trip (see Footnote 3 in PRC-026-2; alternately, entity may use actual date of trip): | Date Part 2.2 Evaluation Completed: | Evaluation - Load Responsive Relays Meet PRC-026-1 Attachment B Criteria? (Yes/No) | Comments (please provide any comments that you feel are relevant)
1
2
3
4
5
6
7
8
9
10