## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 11/1/2025
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-026-2 | R3 | Provide Requirement R3 Relay List [Load-Responsive Protective Relays which did not meet PRC-026-2 Attachment B Criteria (the sub-list/output from Requirement R2)]. Use Included Template | Return Data List to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment C - Data Sampling." | The Generator Owner and Transmission Owner shall have dated evidence that demonstrates the development of a CAP in accordance with Requirement R3. Evidence may include, but is not limited to, the following documentation: corrective action plans, maintenance records, settings sheets, project or work management program records, or work orders. | Return evidence to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment B, the RSAWs, Data Sampling Evidence, and all evidence of compliance."

## PRC-026-2 R3
Index Number (Add more as needed) | Requirement R3 Relay List Load-Responsive Protective Relays which did not meet PRC-026-2 Attachment B Criteria (the sub-list/output from Requirement R2) | BES Element Associated with Relay: | Function (TO/GO): | Date of Determination (that the relay in Column B did not meet PRC-026-2 Attachment B Criteria per Requirement R2): | Date Corretive Action Plan (CAP) Developed: | Comments (please provide any comments that you feel are relevant)
1
2
3
4
5
6
7
8
9
10