## Instructions
Contains Confidential Information Including Privileged and Critical Energy Infrastructure Information. Do Not Distribute. Attachment C - Data Sampling Request | [5 empty] | Updated: 11/1/2025
Standard Number | Requirement Number | Data List | Data List returned to ReliabilityFirst | Evidence Requested | Evidence Returned to ReliabilityFirst
PRC-027-1 | R2. | Provide a list of BES Elements with Protection System functions identified in Attachment A of PRC-027-1. Use Included Template | Return Data List to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment C - Data Sampling." | Acceptable evidence may include, but is not limited to, dated electronic or hard copy documentation to demonstrate that the responsible entity performed Protection System Coordination Study(ies) and/or Fault current comparisons in accordance with Requirement R2. | Return evidence to ReliabilityFirst no later than the deadline indicated in the Notification Letter for "Submittal of Attachment B, the RSAWs, Data Sampling Evidence, and all evidence of compliance."

## PRC-027-1 R2
|  |  | Populate These Columns for BES Elements Using Option 1 During any Portion of the Audit Period |  | Populate These Columns for BES Elements Using Option 2 During any Portion of the Audit Period
Index Number (Add more as needed) | BES Elements with Protection System functions identified in Attachment A | R2 Compliance Method (Option 1 or Option 2) | Date of the most recent Protection System Coordination Study (if any) performed after April 1, 2021 but prior to the audit period | Dates of any Protection System Coordination Studies performed during the audit period | Date the initial Fault current baseline was established | Date of the most recent Fault current comparison (if any) performed after April 1, 2021 but prior to the audit period | Date of any Fault current comparisons performed during the audit period | Did any Fault current comparisons performed during the audit period identify a 15 percent or greater deviation in Fault current values from the Fault current Baseline? | Comments
1
2
3
4
5
6
7
8
9
10